## Cost Est Steel - 10-03-2013
| CLIENT: | City of Columbia Water & Light Department | [5 empty] | REV. NOTES:
| PROJECT: | Mill Creek 161-kV Transmission Line Project | [5 empty] | Rev. 0: Costs below are intended to account for 7.7 miles of OH Line Construction only. No costs are included that may additonally account for:
| PREPARED BY: | KAK/JLT, Sega, Inc. | [5 empty] | a. Substation
| DOCUMENT: | Engineering Opinion of Cost | [5 empty] | b. Any portion of the line that may be routed underground, distribution or otherwise.
| DATE: | 2018-07-06 | [5 empty] | c. Existing 69-kV along route has been considered for double circuit.
| REVISION: | Rev 2 - BMCD | [5 empty] | Rev. 1 update costs
Rev. 2 remove wood tab per City, update costs
Design, 161-kV using Self-Supporting Steel Structures on Foundations, 7.7 Miles
Item No. | Item | Foundations | Material - Pole | Material - Assemblies | Construction T&D | Quantity | Subtotal per Structure | Notes
Structures
1 | Double Circuit Steel Dead End Structure | 198715 | 125067.5556 | 7910 | 16045 | 6 | 2086425.3333
2 | Steel Running Angle (5-15) | 83695 | 31470.2222 | 1375 | 9525 | 12 | 1512782.6667
3 | Double Circuit Steel Running Angle (5-15) | 125695 | 67661.3333 | 2500 | 12175 | 2 | 416062.6667
4 | Steel Running Angle (16-30) | 94855 | 45418.6667 | 1525 | 8235 | 6 | 900202
5 | Double Circuit Steel Running Angle (16-30) | 145900 | 58624.8889 | 2650 | 10885 | 1 | 218059.8889
6 | Steel Tangent | 400 | 24552.8889 | 1375 | 9525 | 52 | 1864350.2222 | Assumed direct embed foundation
7 | Double Circuit Steel Tangent | 400 | 46708.4444 | 2500 | 12175 | 10 | 617834.4444 | Assumed direct embed foundation
| Subtotals --> | 3187850 | 3338342.2222 | 177260 | 912265 | 89 | 7615717.2222
Conductor & Shield Wire
7 | Conductor, 795 kcmil ACSR "Drake", 123,650-ft |  | 197840 |  | 727500 | 1 | 925340
8 | Shield Wire, 0.506" 24-Fiber OPGW, 41,200-ft |  | 67980 |  | 323200 | 1 | 391180
9 | Splice Boxes at Substations and Junction Points |  | 8000 |  | 2865 | 4 | 43460 | 4 locations for splice boxes
10 | Misc.: Stringing Setups, Xings, Etc. |  | 35000 |  | 131510 | 1 | 166510 | Est. LS for 7.7 mile design; Includes setups for stringing, contractor-provided guard structures for road & line xings, etc.
| Subtotals --> |  | 332820 |  | 1193670 |  | 1526490
Other Construction-Related Costs
11 | Mobilization / De-Mobilization |  | Estmated Lump Sum Cost = |  |  |  | 36100
12 | Construction Yard Setup, Security, Material Storage |  | Estmated Lump Sum Cost = |  |  |  | 208430
13 | ROW Access, SWPPP |  | Estmated Lump Sum Cost = |  |  |  | 366040
14 | ROW Restoration |  | Estmated Lump Sum Cost = |  |  |  | 171935
| Subtotals --> | [5 empty] | 782505
Summary of Material & Construction Costs Only = | [6 empty] | 9142207.2222
20% Material Contingency = | [6 empty] | 1407254.4444 | Also is intended to account for any markup costs (~10%)
30% Construction Contingency = | [6 empty] | 631780.5 | Contingency on Structure & Wire labor only: Construction costs may vary significantly based on market conditions, contractor availability, & overall schedule requirements
Subtotal with Contingencies = | [6 empty] | 11181242.1667
Per Mile Base Cost = | [6 empty] | 1553733.3983 | Divide previous "Subtotal with Contingencies" by 7.7 + Construction-Other costs by 7.7
Cost for 7.7 Mile OH Line, Base Cost = | [6 empty] | 11963747.1667 | Multiply previous "Per Mile Base Cost" by 7.7
Client-Mgmt Costs & Consultants (Engg, Public Involvement, Real Estate Assessment and Acquisition)
15 | Complete Engineering (Line Design, Fdtns, Constr Docs & Dwgs) |  | % of Base Cost = |  |  | 10% | 1196374.7167
16 | Surveying |  | Survey Lump Sum Cost= |  |  |  | 40000 | Staking
17 | Stakeholder Engagement & Public Relations |  | % of Base Cost = |  |  | 8% | 957099.7733
18 | Real Estate |  | % of Base Cost = |  |  | 10% | 1196374.7167
19 | Proj Mgmt, Field Coordination & Inspection, Etc. |  | % of Base Cost = |  |  | 8% | 957099.7733 | Assumes 12-week construction schedule w/ NO full-time on-site safety coordinator
20 | EPC Construction Contract Adder |  | % of Construction Cost = |  |  | 10% | 352022.05 | Assume based on construction-labor, other-, & contingency cost only; Adder may +/- based on overall amount
21 | Eng & Proj Mgmt |  | % of Base Cost = |  |  | 2.5% | 299093.6792
| Subtotals --> | [5 empty] | 4998064.7092
ROW (Acquisitions & Permits)
22 | Title Searches |  | Estmated Lump Sum Cost = |  |  |  | 50000
23 | Acquisitions |  | Estmated Lump Sum Cost = |  |  |  | 550000
24 | Crossing Permits |  | Estmated Lump Sum Cost = |  |  |  | 30000
25 | Environmental Permits, SWPPP Preparation, Monitoring |  | Estmated Lump Sum Cost = |  |  |  | 112000
| Subtotals --> | [5 empty] | 742000
Summary of PM, Engr, Surveying, & Geotech; and ROW, Permitting, Etc. Costs Only = | [6 empty] | 5740064.7092
10% Contingency = | [6 empty] | 574006.4709
Cost for 7.7 OH Line, Total Project = | [6 empty] | 18277818.3467
Per Mile Cost = | [6 empty] | 2373742.6424